# Biomedical Image Informatics

# Chest X-ray Pneumonia Classification Using CNN Project Report

| Name | ID |
| --- | --- |
| Martina Alfred Aniss | 2022170888 |
| Jana Mohamed El Saeed | 2022170886 |
| Fatma Mostafa Abd Al Galeil | 2022170887 |
| Mahmoud Mohamed Mahmoud | 2022170940 |
| Mohamed Ibrahim Mohamed Bakri | 20191701157 |
| David Wagiuh Wadie | 20191701070 |

# Problem Description

The goal of this project is to process pediatric chest X-ray images and classify each image as either NORMAL or PNEUMONIA. The work is divided into two stages. Stage 1 explores classical biomedical image processing methods such as normalization, smoothing, edge detection, masking, segmentation, and feature extraction. Stage 2 trains convolutional neural networks on raw and preprocessed images, then compares their classification performance.

# Dataset Description

The dataset contains grayscale chest X-ray images organized into train, validation, and test folders with two classes: NORMAL and PNEUMONIA. Images were resized to 128 x 128 pixels before CNN training. The sample image used for processing analysis has shape 824 x 1544, float32 data type, intensity range 0 to 255, and mean intensity 162.66335.

| Split | NORMAL | PNEUMONIA | Total |
| --- | --- | --- | --- |
| Training | 3678 | 4194 | 7872 |
| Validation | 858 | 858 | 1716 |
| Testing | 244 | 404 | 648 |

Figure 1. Dataset loading summary and class counts.                                                              Figure 2. Sample image metadata

# Stage 1 Results: Image Processing and Feature Extraction

Stage 1 examined the visual and statistical properties of the X-ray images. The original image and histogram show the broad grayscale intensity distribution typical of radiographs. Normalization scaled intensities into a consistent range, which supports comparison between images and prepares the data for neural network training.

Figure 3. Original sample chest X-ray image.

Figure 4. Histogram of pixel intensities for the sample image.

Figure 5. Before and after normalization.

Figure 6. Sample images from the training dataset.

Filtering and edge detection were used to study structure in the radiographs. Gaussian, mean, and median filters reduced noise with slightly different smoothing behavior. Sobel and Prewitt emphasized boundaries such as ribs and lung edges, while the Laplacian response was weaker for this image because it is more sensitive to fine intensity changes and noise.

Figure 7. Smoothing filter comparison.

Figure 8. Image enhancement and Sobel edge detection.

Figure 9. Edge detection comparison using Sobel, Prewitt, and Laplacian operators.

Segmentation was tested using mean thresholding, percentile thresholding, and Otsu thresholding. The produced masks show that simple thresholding can capture broad bright regions but may also include non-lung structures. The extracted feature plot shows overlap between classes.

Figure 10. Masking and segmentation result.

Figure 11. Masking methods comparison.

Figure 12. Segmentation methods comparison.

Figure 13. Extracted features from training images.

# Stage 2 Results: CNN Classification

Two CNN experiments were performed. The first model was trained on raw normalized images, and the second model was trained on preprocessed images. Both models used three convolutional blocks followed by flattening, a dense layer, dropout, and an output layer. Cross-entropy loss and the Adam optimizer were used for training.

Figure 14. CNN architecture summary.

| Experiment | Accuracy | Precision | Recall |
| --- | --- | --- | --- |
| Raw Images | 0.8688 | 0.8916 | 0.8688 |
| Preprocessed Images | 0.9028 | 0.9148 | 0.9028 |

The preprocessed model achieved the better overall result, improving accuracy from 0.8688 to 0.9028 and weighted precision from 0.8916 to 0.9148.

| Model | TN | FP | FN | TP |
| --- | --- | --- | --- | --- |
| Raw Images | 159 | 85 | 0 | 404 |
| Preprocessed Images | 182 | 62 | 1 | 403 |

The confusion matrices show that both models correctly detected almost all pneumonia cases. The preprocessed model reduced false positives for NORMAL images from 85 to 62, while introducing only one false negative pneumonia case.

Figure 15. Raw images CNN printed classification results.

Figure 16. Preprocessed images CNN printed classification results.

Figure 17. CNN training and validation accuracy curves.

Figure 18. Final comparison table

# Discussion and Conclusions

The Stage 1 image processing experiments helped explain how preprocessing changes the visual information available to the classifier. Normalization standardized pixel intensity ranges, smoothing reduced noise, and edge detection highlighted anatomical boundaries. However, simple segmentation masks were not perfectly focused on lung regions, so extracted area and mean intensity showed strong class overlap.

The Stage 2 CNN results show that preprocessing improved classification performance. The preprocessed-image model produced higher accuracy, precision, and recall than the raw-image model. The most important improvement was the reduction in NORMAL images incorrectly classified as PNEUMONIA. Overall, the experiment supports the conclusion that preprocessing can improve CNN performance for this chest X-ray classification task, although future work could improve segmentation quality, use augmentation, and evaluate more advanced pretrained CNN architectures.